LIST OF EQUIPMENT AND CONSUMABLES

- Molecular Biology Laboratory

### Equipment

- Bench-top microcentrifuge (room temperature)

- Refrigerated centrifuge

- PCR thermal cycler

- Gel electrophoresis system (power supply and tanks)

- UV / blue-light gel documentation system

- NanoDrop or spectrophotometer

- qPCR system

- Precision analytical balance

- Vortex mixer

- Magnetic stirrer / hot plate

- Water bath

- Dry block heater

- -20 °C freezer

- -80 °C freezer

- 4 °C refrigerator

- Biosafety cabinet / PCR hood

- pH meters

- Ice maker

- Autoclave

- Spectrophotometers

### Consumables

- Micropipettes (P10, P20, P200, P1000)

- Pipette tips (filter and non-filter)

- Microcentrifuge tubes (1.5 mL, 2 mL)

- Falcon tubes

- Eppendorf tubes

- Petri dishes

- Slides and cover slips

- PCR tubes and plates

- Beakers and flasks

- Graduated cylinders

- Test tubes and racks

- Pipette holders and controller

- Safety goggles, gloves, lab wipes, parafilm

- Agarose

- DNA/RNA extraction kits or reagents

- Restriction enzymes and ligases

- dNTPs

- DNA/RNA ladders

- Loading dyes

- Buffers (Tris, EDTA, TAE/TBE, PBS)

- Ethanol, isopropanol

- Drosophila Research Laboratory

### Equipment

- Drosophila incubators

- Anesthetizing systems (CO₂ pads, CO₂ Blow gun, FlyNap, etc.)

- Dissecting stereo microscopes

- NanoDrop spectrophotometers

- Fly sorting pads

- Fine forceps and brushes

- Confocal microscope

- Benchtop autoclave

- Digital/ Amscope microscopes

- Behavioural assay tools

### Consumables

- Fly vials and bottles

- Cotton or foam vial plugs

- Cornmeal, yeast, sugar, agar

- Propionic acid / antifungal agents

- Disposable gloves

- Ethanol

- General Laboratory Infrastructure & Shared Equipment

### Equipment

- Confocal/fluorescence microscopes

- Stereo microscope with camera attachment

- Temperature-controlled heat stress chambers

- Precision incubators with programmable cycling

- Autoclaves

- UPS / voltage stabilisers

- Fume hood

- 3D printer

- Microtome / ultra-microtome

- Tissue processor

- Benchtop histopathology oven

- Thermal stimulators

- Chemical stimulators

### Consumables

- PPE (lab coats, gloves, goggles)

- Disinfectants and detergents

- Sharps containers

- Biohazard bags

- Cleaning supplies

- Teaching & Secondary School Science Laboratory

### Equipment

- Compound light microscopes

- Basic stereomicroscopes

- Hot plates

- Water baths

- Centrifuge (low-speed, teaching grade)/ hand centrifuge

- Digital balance / basic balance scales

- Dissection kits

- pH meter or pH strips

- Glassware drying racks

- Safety goggles and gloves

- Magnifying glasses

- Chromebooks

- Mini projectors for digital teaching

- Whiteboards / demonstration screens

- Thermometers

- Educational 3D models (for biology, chemistry, and physics)

### Consumables

- Glassware (beakers, flasks, test tubes)

- Microscope slides and cover slips

- Prepared permanent microscope slides (e.g., onion epidermis, mold, amoeba, paramecium)

- Basic stains (e.g. methylene blue, iodine)

- Filter paper

- Measuring cylinders, beakers, and flasks

- Burettes and stands

- Petri dishes

- Plastic transfer pipettes

- Disposable gloves

- Test tubes and racks

List of Equipment and Consumables in Table Format

| S/No. | ## Molecular Biology Laboratory | ## Drosophila Research Laboratory | ## General Laboratory Infrastructure & Shared Equipment | ## Teaching & Secondary School Science Laboratory |
| --- | --- | --- | --- | --- |
| Equipment |  |  |  |  |
| 1. | Bench-top microcentrifuge (room temperature) | Drosophila incubators (18 °C, 25 °C, 29 °C) | Confocal/fluorescence microscopes | Compound light microscopes |
| 2. | Refrigerated centrifuge | Anesthetizing systems (CO₂ pads, CO₂ Blow gun, FlyNap, etc.) | Stereo microscope with camera attachment | Basic stereomicroscopes |
| 3. | PCR thermal cycler | Dissecting stereo microscopes | Temperature-controlled heat stress chambers | Hot plates |
| 4. | Gel electrophoresis system (power supply and tanks) | NanoDrop spectrophotometers | Precision incubators with programmable cycling | Water baths |
| 5. | UV / blue-light gel documentation system | Fly sorting pads | Autoclaves | Centrifuge (low-speed, teaching grade)/ hand centrifuge |
| 6. | NanoDrop or spectrophotometer | Fine forceps and brushes | UPS / voltage stabilisers | Digital balance / basic balance scales |
| 7. | qPCR system | Confocal microscope | Fume hood | Dissection kits |
| 8. | Precision analytical balance | Benchtop autoclave | 3D printer | pH meter or pH strips |
| 9. | Vortex mixer | Digital/ Amscope microscopes | Microtome / ultra-microtome | Glassware drying racks |
| 10. | Magnetic stirrer / hot plate | Behavioural assay tools | Tissue processor | Safety goggles and gloves |
| 11. | Water bath |  | Benchtop histopathology oven | Magnifying glasses |
| 12. | Dry block heater |  | Thermal stimulators | Chromebooks |
| 13. | -20 °C freezer |  | Chemical stimulators | Mini projectors for digital teaching |
| 14. | -80 °C freezer |  |  | Whiteboards / demonstration screens |
| 15. | 4 °C refrigerator |  |  | Thermometers |
| 16. | Biosafety cabinet / PCR hood |  |  | Educational 3D models (for biology, chemistry, and physics) |
| 17. | pH meters |  |  |  |
| 18. | Ice maker |  |  |  |
| 19. | Autoclave |  |  |  |
| 20. | Spectrophotometers |  |  |  |
| Consumables |  |  |  |  |
| 1. | Micropipettes (P10, P20, P200, P1000) | Fly vials and bottles | PPE (lab coats, gloves, goggles) | Glassware (beakers, flasks, test tubes) |
| 2. | Pipette tips (filter and non-filter) | Cotton or foam vial plugs | Disinfectants and detergents | Microscope slides and cover slips |
| 3. | Microcentrifuge tubes (1.5 mL, 2 mL) | Cornmeal, yeast, sugar, agar | Sharps containers | Prepared permanent microscope slides (e.g., onion epidermis, mold, amoeba, paramecium) |
| 4. | Falcon tubes | Propionic acid / antifungal agents | Biohazard bags | Basic stains (e.g. methylene blue, iodine) |
| 5. | Eppendorf tubes | Disposable gloves | Cleaning supplies | Filter paper |
| 6. | Petri dishes | Ethanol |  | Measuring cylinders, beakers, and flasks |
| 7. | Slides and cover slips |  |  | Burettes and stands |
| 8. | PCR tubes and plates |  |  | Petri dishes |
| 9. | Beakers and flasks |  |  | Plastic transfer pipettes |
| 10. | Graduated cylinders |  |  | Disposable gloves |
| 11. | Test tubes and racks |  |  | Test tubes and racks |
| 12. | Pipette holders and controller |  |  |  |
| 13. | Safety goggles, gloves, lab wipes, parafilm |  |  |  |
| 14. | Agarose |  |  |  |
| 15. | DNA/RNA extraction kits or reagents |  |  |  |
| 16. | Restriction enzymes and ligases |  |  |  |
| 17. | dNTPs |  |  |  |
| 18. | DNA/RNA ladders |  |  |  |
| 19. | Loading dyes |  |  |  |
| 20. | Buffers (Tris, EDTA, TAE/TBE, PBS) |  |  |  |
| 21. | Ethanol, isopropanol |  |  |  |